## Sayfa1
GIDA KONTROL VE LABORATUVAR DAİRE BAŞKANLIĞI
Biyotoksin Analizlerinde Metot Birlikteliği Performans Kriterleri
No | Analizin Adı | Alt Parametre | Ürün Grubu | Metot | Çalışma yapılacak ürün grupları | Tekrarlanabilirlik | Tekrarüretilebilirlik | Gerçeklik | Hassasiyet | Seçicilik | Sağlamlık | Doğrusallık | Ölçüm Limiti | Tespit Limiti | Ölçüm belirsizliği
1 | Biyotoksin Amnesic Shellfish Poisioning Grubu (ASP) | Domoik Asit (Da-f) | Çift Kabuklu Yumuşakçalar | European Unıon Ref.Lab.For Marine Biotoxins Standart Operating Procedure for determination of domoic acid (ASP) in molluscs by UPLC-MS Version 1 February 2010 SOP for determination of domoic acid (ASP toxins) in molluscs by UPLC-MS Ver.1 EU-Harmonised Standard Operating Procedure for determination of domoic acid in shellfish and finfish by RP-HPLC using UV detection | Kum midyesi + 1 Ürün | X | X | X |  |  |  | X | X | X | X
2 | Biyotoksin Diarrhetic Shellfish Poisioning Grubu (DSP) | Azaspir Asit (AZA 1) | Çift Kabuklu Yumuşakçalar | European Union Ref. Lab. For Marine Biotoxins, EU Harmonised Standart Operating Procedure for determination of Lipoohilik marine biotoxins in molluscs by LC-MS/MS Version 4, July 2015 EUMRLB Lipoohilic Marine Biotoxins by LC-MS/MS v5 2015 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Azaspir Asit (AZA 2) | Çift Kabuklu Yumuşakçalar | European Union Ref. Lab. For Marine Biotoxins, EU Harmonised Standart Operating Procedure for determination of Lipoohilik marine biotoxins in molluscs by LC-MS/MS Version 4, July 2015 EUMRLB Lipoohilic Marine Biotoxins by LC-MS/MS v5 2015 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Azaspir Asit (AZA 3) | Çift Kabuklu Yumuşakçalar | European Union Ref. Lab. For Marine Biotoxins, EU Harmonised Standart Operating Procedure for determination of Lipoohilik marine biotoxins in molluscs by LC-MS/MS Version 4, July 2015 EUMRLB Lipoohilic Marine Biotoxins by LC-MS/MS v5 2015 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Dinophysis Toksin1 (DTX-1) | Çift Kabuklu Yumuşakçalar | European Union Ref. Lab. For Marine Biotoxins, EU Harmonised Standart Operating Procedure for determination of Lipoohilik marine biotoxins in molluscs by LC-MS/MS Version 4, July 2015 EUMRLB Lipophilic Marine Biotoxins by LC-MS/MS v5 2015 | kum midyesi +1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Dinophysis Toksin2 (DTX-2) | Çift Kabuklu Yumuşakçalar | European Union Ref. Lab. For Marine Biotoxins, EU Harmonised Standart Operating Procedure for determination of Lipoohilik marine biotoxins in molluscs by LC-MS/MS Version 4, July 2015 EUMRLB Lipophilic Marine Biotoxins by LC-MS/MS v5 2015 | kum midyesi +1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Homo Yesso Toksin (hYTX) | Çift Kabuklu Yumuşakçalar | European Union Ref. Lab. For Marine Biotoxins, EU Harmonised Standart Operating Procedure for determination of Lipoohilik marine biotoxins in molluscs by LC-MS/MS Version 4, July 2015 EUMRLB Lipophilic Marine Biotoxins by LC-MS/MS v5 2015 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Okadoik Asit | Çift Kabuklu Yumuşakçalar | European Union Ref. Lab. For Marine Biotoxins, EU Harmonised Standart Operating Procedure for determination of Lipoohilik marine biotoxins in molluscs by LC-MS/MS Version 4, July 2015 EUMRLB Lipophilic Marine Biotoxins by LC-MS/MS v5 2015 | kum midyesi + 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Yesso Toksin (YTX) | Çift Kabuklu Yumuşakçalar | European Union Ref. Lab. For Marine Biotoxins, EU Harmonised Standart Operating Procedure for determination of Lipoohilik marine biotoxins in molluscs by LC-MS/MS Version 4, July 2015 EUMRLB Lipophilic Marine Biotoxins by LC-MS/MS v5 2015 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
3 | Biyotoksin Paralytic Shellfish Poisioning Grubu (PSP) | Saksitoksin (STX-f) | Çift Kabuklu Yumuşakçalar | AOAC 2005.06 Paralytic Shellfish Poisoning Toxins in Sellfish 2005 AOAC 2005.06 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Neosaksitosin (NEO-c) | Çift Kabuklu Yumuşakçalar | AOAC 2005.06 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Gonyautoksin (GTX-1,4) | Çift Kabuklu Yumuşakçalar | AOAC 2005.06 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Gonyautoksin (GTX-2,3) | Çift Kabuklu Yumuşakçalar | AOAC 2005.06 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Gonyautoksin (dc-GTX-2,3) | Çift Kabuklu Yumuşakçalar | AOAC 2005.06 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
|  | Saksitoksin (dc-STX) | Çift Kabuklu Yumuşakçalar | AOAC 2005.06 | 1 Ürün | X | X | X |  |  |  | X | X | X | X
4 | Toksik Alg |  | Çift Kabuklu Yumuşakça Avlak Bölgesi Deniz Suyu | TS/EN 15204 | 1 Ürün | X | X | X |  |  |  | X | X | X | X